## Checklist
Climate Resilient
# | Category | Checking points | Check
1 | Climate Risk Identification | Analyze community vulnerability to climate-related WASH challenges (e.g., water scarcity, sanitation access during floods), Conduct community surveys or focus groups | FALSE
2 | Climate Risk Identification | Evaluate risks to proposed sanitation infrastructure (e.g., flooding of latrines, sewer overflows) from extreme weather events, Map floodplains and high-risk zones | FALSE
3 | Climate Risk Identification | Has historical data and climate data been used? | FALSE
4 | Climate Risk Identification | Local climate hazards (floods, droughts, storms…....) using historical data and climate scenarios | FALSE
5 | Climate Risk Identification | Review climate data sources for region-specific trends and projections (e.g., temperature increase, precipitation changes), Ensure data is recent and reliable | FALSE
6 | Community Engagement | Include training programs on managing water systems under climate stress (e.g. drought management, flood-safe storage). Develop training materials | FALSE
7 | Community Engagement | Require stakeholder consultations to ensure community buy-in for climate-resilient water supply practices, Engage vulnerable groups (e.g. Women disabled) | FALSE
8 | Deliverables | Include a climate risk assessment report as a key deliverable Specify scope and format of the report | FALSE
9 | Deliverables | Require a climate-resilient water supply design report with adaptation strategies and maintenance plans Include technical specifications | FALSE
10 | Deliverables | Specify a community training plan for climate-adaptive water management practices. Outline training scope and timeline | FALSE
11 | Design Requirements | Mandate infrastructure placement outside climate-vulnerable areas (e.g. Floodplains, erodible soils) Conduct site-specific risk assessments | FALSE
12 | Design Requirements | Require infrastructure designs to withstand climate hazards (e.g. elevated storage tanks for flood-prone areas heat-resistant components). Incorporate flood and drought mitigation measures | FALSE
13 | Design Requirements | Specify use of climate-resilient technologies (e.g. solar-powered pumps gravity-fed systems) and materials (e.g. corrosion-resistant pipes). Prioritize low-maintenance durable options | FALSE
14 | Energy and Technology Feasibility | Assess feasibility of renewable energy sources (e.g., solar, wind) for WASH systems to reduce carbon footprint, Evaluation local renewable energy potential | FALSE
15 | Energy and Technology Feasibility | Energy and Technology Feasibility,Investigate low-maintenance, climate-resilient technologies suitable for local conditions, Prioritize simple, robust systems | FALSE
16 | Energy and Technology Feasibility | Evaluate energy-efficient technologies (e.g., low-energy pumps, water treatment systems) for operational sustainability, Calculate long-term energy costs | FALSE
17 | Environmental Considerations | Project is carbon positive, carbon neutral. There are some impact that may result on technology used and may not only be greenhouse gases emissions | FALSE
18 | Environmental Considerations | Promote sustainable practices (e.g. renewable energy for pumping minimal water abstraction). Assess long-term environmental sustainability | FALSE
19 | Environmental Considerations | Require an environmental impact assessment (EIA) to evaluate carbon footprint and ecosystem impacts under climate change Prioritize low-carbon solutions | FALSE
20 | Environmental Impact Assessment | Assess carbon footprint of construction and operation phases, Prioritize low-carbon materials and methods | FALSE
21 | Environmental Impact Assessment | Ensure compliance with environmental regulations for climate-resilient designs, Review national and local environmental policies | FALSE
22 | Environmental Impact Assessment | Evaluate environmental impacts of proposed WASH systems under climate change (e.g., water table depletion, ecosystem disruption), Conduct environmental impact studies | FALSE
23 | Monitoring and Evaluation | Require adaptive management strategies to address emerging climate risks. Plan for periodic system reviews | FALSE
24 | Monitoring and Evaluation | Specify additional resilience to be designed and built into the project in order to protect the project physically and avoid service disruptions | FALSE
25 | Monitoring and Evaluation | Specify climate-specific monitoring indicators (e.g. water availability system performance during extreme weather). Define measurable KPIs | FALSE
26 | Policy and Regulatory Compliance | Ensure feasibility study adheres to international frameworks (e.g., SDG 6, Paris Agreement) for climate resilience, Document compliance with global standards | FALSE
27 | Policy and Regulatory Compliance | Mandate alignment with national and international climate and water policies (e.g. Paris Agreement, national water strategies, National Development Plan, Sector Plan, the Green Growth and Climate Resilience Strategy, or any other government policy). Document compliance in ToR | FALSE
28 | Policy and Regulatory Compliance | Policy and Regulatory Compliance,Assess permitting requirements for climate-adaptive WASH infrastructure, Engage with local authorities early | FALSE
29 | Policy and Regulatory Compliance | Require documentation of permitting processes for climate-resilient infrastructure Engage with local authorities early | FALSE
30 | Policy and Regulatory Compliance | Verify alignment with national climate adaptation plans and WASH policies, Check national climate and WASH strategies | FALSE
31 | Project Objectives | Align project goals with national climate adaptation plans and SDG 6 (Clean Water and Sanitation). Reference relevant policy documents | FALSE
32 | Project Objectives | Include a clear statement on delivering a climate-resilient water supply system capable of withstanding climate hazards (e.g. Droughts, floods). Specify resilience to specific local climate risks | FALSE
33 | Project Objectives | Require a climate risk and vulnerability assessment to identify hazards (e.g. reduced rainfall, flooding) impacting water sources and infrastructure Use climate projections and historical data | FALSE
34 | Resources | Allocate budget for climate-resilient materials and technologies (e.g. solar pumps, durable pipes). Include contingency funds for climate risks | FALSE
35 | Resources | Require expertise in climate resilience hydrology and engineering for the project team. Specify qualifications in ToR | FALSE
36 | Risk and Contingency Planning | Assess scalability of climate-resilient solutions for future expansion or replication, Identify potential for regional application | FALSE
37 | Risk and Contingency Planning | Identify climate-related risks to project implementation (e.g., construction delays due to extreme weather), Develop risk mitigation strategies. Focus on climate change vulnerabilities, The impacts of the risks should be scaled/rated | FALSE
38 | Risk and Contingency Planning | Plan for contingency measures (e.g., backup water sources, temporary sanitation solutions) during climate extremes, Budget for contingencies | FALSE
39 | Sanitation and Infrastructure Feasibility | Analyze drainage requirements to manage increased runoff from heavy rainfall, Incorporation of stormwater management plans | FALSE
40 | Sanitation and Infrastructure Feasibility | Assess feasibility of climate-adaptive sanitation technologies (e.g., composting toilets, biogas digesters), Consideration of community acceptance and maintenance | FALSE
41 | Sanitation and Infrastructure Feasibility | Assess suitability of sanitation designs for climate hazards (e.g., flood-resistant latrines, elevated septic tanks), Reviewing site topography and flood risk | FALSE
42 | Sanitation and Infrastructure Feasibility | Evaluate material durability under climate extremes (e.g., corrosion-resistant pipes, heat-tolerant components), Source climate-resilient materials locally | FALSE
43 | Sanitation and Infrastructure Feasibility | Evaluate site suitability (e.g., avoid floodplains, unstable soils) for climate-resilient infrastructure placement, Conduct geotechnical and environmental surveys | FALSE
44 | Scope of Work | Include community engagement to integrate local knowledge and climate-adaptive practices (e.g. water conservation, rainwater harvesting). Plan participatory workshops | FALSE
45 | Scope of Work | Mandate evaluation of water source sustainability under future climate scenarios (e.g. groundwater depletion surface water variability). Incorporate hydrological modeling | FALSE
46 | Socioeconomic and Community Considerations | Analyze economic feasibility of climate-adaptive systems (cost of resilient materials, maintenance funding), how cost-recovery mechanisms are estimate | FALSE
47 | Socioeconomic and Community Considerations | Assess community’s adaptive capacity to climate impacts (ability to manage water scarcity, adopt new sanitation practices), Does community leaders and vulnerable groups engaged | FALSE
48 | Socioeconomic and Community Considerations | How does indigenous knowledge and local practices into climate-resilient WASH designs Incorporated, Document traditional coping strategies | FALSE
49 | Socioeconomic and Community Considerations | Socioeconomic and Community Considerations,Evaluate community willingness to adopt climate-resilient WASH practices (e.g., water conservation, flood-safe hygiene), Conduct participatory workshops | FALSE
50 | Water Resource Assessment | Analyze water demand under climate stress (e.g., increased demand during heatwaves), Project population growth and usage patterns | FALSE
51 | Water Resource Assessment | Assess feasibility of climate-resilient water sources (e.g., deep aquifers, protected springs, rainwater harvesting), Consider seasonal variability and recharge rates | FALSE
52 | Water Resource Assessment | Evaluate long-term availability and reliability of water sources under climate change scenarios (e.g., droughts, variable rainfall), Model water yield under future climate conditions | FALSE
53 | Water Resource Assessment | Investigate alternative water sources (e.g., desalination, water recycling) for backup in case of primary source failure, Evaluate cost and technical feasibility | FALSE
54 | Water Resource Assessment | Test water quality for climate-induced risks (e.g., contamination from floods, salinization from sea-level rise),,Establish baseline water quality parameters | FALSE