## Slide 1: Climate Adaptation and Resilience Options
MODULE 4
Notes: Slides ………provide an overview of Module 4.
This module will guide participants through technical, strategic, and policy-based approaches to enhancing climate resilience in water and sanitation infrastructure and services, building on insights from Climate Risk and Vulnerability Assessments (CRVAs).
Exercise: Guiding principles for participation
At the start of each day, remind the participants of these simple ‘housekeeping’ principles:
Listen carefully, follow along and make your own notes.
Ask the trainers questions or clarifications at any time.
Your own experience is valuable, and we encourage you to share it.
Share and discuss with others during exercises, breaks and reflections.

## Slide 2
Acknowledgements
We would like to acknowledge the following partners and funders involved in designing and delivering the Climate Resilient Water Services Masterclass:
The Modules were developed with
Notes: Trainer notes:
Here you can acknowledge who contributed to the development of the Masterclass.
We would like to acknowledge the following partners and funders involved in designing and delivering the Climate Resilient Water Services Masterclass (CRWSMC).

## Slide 3
01 | Overview Module 4 Including Learning objectives
02 | Why it matters
03 | Climate-resilient infrastructure & services
 | LUNCH
04 | The broader enabling environment
05 | Ways to build resilient infrastructure
06 | Exercise
07 | A quiz & end of the day reflection
go.mwater.co/irc/2025_kenya
All information of this course
Notes: Trainer notes:
Overview of the main content of this presentation.

## Slide 4: Feedback
Short feedback on follow-up of yesterday’s feedback session.
Parking lot review
Notes: Facilitators notes:
Briefly touch on the issues (positive and negative) that were raised at the evaluation yesterday and indicate what changes have been made to respond to them
Highlight the items in the parking lot and indicate which ones are integrated today

## Slide 5: Our river
Our river is not alone – there are side rivers and tributaries joining forces
Notes: Facilitators notes:
As combining theme though the course, we will use the metaphor of a river. Each day will be represented by a part of the river.
Discuss which symbolism we can link to tributaries and how it can relate to the enabling environment.
Explore multiple influences, actors and systems impacting climate resilience and water. What feed or drains resilience?
If you are using a rope, you can tie in some short other pieces of rope. Have participants do this whilst they explore what it is.

## Slide 6
01| Overview Module 4

## Slide 7
Online introduction
Module 1
Climate risk assessments
Climate hazards & risks and the role of inclusion
Climate adaptation and resilience options
Toolkit for water and sanitation infrastructure planning
Module 2
Module 4
Module 5
Module 0
Explores approaches to enhancing climate resilience in water and sanitation infrastructure and services
Notes: This module guides participants through technical, strategic, and policy-based approaches to enhancing climate resilience in water and sanitation infrastructure and services, building on insights from Climate Risk and Vulnerability Assessments (CRVAs).

## Slide 8: MODULE 4 Climate adaptation and resilience options
Key components include:
Exploration of engineering, design, and strategic solutions, including Nature-based Solutions and non-structural solutions for resilient water and sanitation systems.
Presentation of evidence-based adaptation strategies from diverse contexts.
Introduction to key guidance materials.
Duration: 1 day
Notes: This slide provides a summary of what will be taught in Module 4:
Key components include:
Exploration of engineering, design, and strategic solutions for resilient water and sanitation systems, with a focus on both conventional and innovative approaches such as Nature-based Solutions (NbS) and hybrid systems.
Review of evidence-based adaptation strategies from diverse contexts—urban and rural—relevant to the course locations. These case studies will highlight successful interventions and provide opportunities for participants to engage in interactive problem-solving exercises.
Introduction to key guidance materials, including but not limited to:
  Sectoral Guide: Water Security (Green Climate Fund)
  The Adaptation Principles: A Guide for Designing Strategies for Climate Change Adaptation and Resilience (World Bank and UNDP).

## Slide 9
Learning objectives

## Slide 10: MODULE 4 Learning objectives
By the end of this module, participants will be able to:
Explain technical, strategic, and policy-based approaches to enhancing climate resilience in water and sanitation infrastructure and services, including Nature-based Solutions and non-structural solutions
Describe how resilience is affected by the broader enabling environment.
Explain the strategies - Green and blue strategies, Grey strategies, and Hybrid strategies, and identify where each of these might be appropriate
Notes: This slide provides a summary of what will be taught in Module 4:
By the end of this module, participants will have a deeper understanding of how resilience is shaped not only by infrastructure and technology, but also by the broader enabling environment, including governance, policy, and institutional systems that support sustainable service delivery.
Explain the three strategies - Green and blue strategies, Grey strategies, and Hybrid strategies, and identify where each of these might be appropriate

## Slide 11
02 | Why it matters

## Slide 12
Why it is important to make infrastructure resilient
Climate resilient infrastructure positively impacts the social and economic wellbeing of populations. Building resilience of infrastructure can ensure:
Increased Reliability of Service Provision
Ensures consistent access to essential services, even during climate-related extreme weather events including floods and heatwaves
Increased Asset Life
Prolongs the lifespan of infrastructure assets, maintaining their functionality and service provision capabilities over time
Improved Efficiency of Service Provision
Optimizes resource allocation and streamlines service delivery, leading to more effective and equitable delivery of essential services
Notes: Trainer Notes:
We begin this section by reflecting on the question ‘why is it important to make infrastructure resilient?’ This slide outlines three ways that climate resilient infrastructure positively impacts the social and economic wellbeing of people. Please go over each of the three points on the slide relating to:
Increased reliability of service provision
Increased asset life
Improved efficiency of service provision
Please also note to participants that increasing asset life means that it must be planned and designed for future climate change over its lifetime, to avoid locking in vulnerability. Here, “lock-in vulnerability" refers to a situation where decisions made in the planning, design, or implementation of infrastructure projects inadvertently increase the system's susceptibility to future climate-related risks and impacts. This vulnerability becomes "locked-in" when infrastructure is built or designed in a way that makes it difficult or costly to adapt to changing climatic conditions in the future.
Source:
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf

## Slide 13
Social
Economic
Increased Reliability of Service Provision
  Enhanced public health and well-being, particularly in vulnerable communities during emergencies
  Reduced vulnerabilities of human life and livelihoods by providing continued access to vital services
  Economic stability and resilience in urban areas, with businesses able to operate without interruption
  Attraction of investment and support for economic growth by providing a conducive environment for businesses to thrive
Increased Asset Life
  Preservation of public health and safety through preventing infrastructure failures and service interruptions
  Promotion of social stability and resilience by ensuring continued functionality of infrastructure assets
  Economic savings and efficiencies through reduced frequency of asset replacements and repairs
  Maximization of benefits derived from infrastructure development, supporting long-term economic sustainability
Improved Efficiency of Service Provision
  More equitable access to essential services, reducing disparities in service delivery and promoting social inclusion
  Greater public satisfaction and trust in urban infrastructure systems through streamlined service provision processes
  Reduces financial burden on governments and taxpayers through cost-effective operation of infrastructure systems
  Fosters innovation and competitiveness by attracting investment and supporting economic growth in urban areas
Why it is important to make infrastructure resilient
Notes: Trainer Notes:
This slide builds on the previous slide, emphasizing the different social and economic benefits that are created from climate resilient infrastructure. These are organised using the three benefits outlined on the previous slide. Please go over each of the boxes with participants - explaining how benefits are created from climate resilient infrastructure.
Source:
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf

## Slide 14
03 | Climate-resilient infrastructure & services
Notes: NOTE TO GCA: We could build on the Step-by Step Guidelines for Delivering Climate Resilient Infrastructure from Module 5 of the urban climate resilience course.

## Slide 15
Asset damage
Climate change can cause direct physical damage to infrastructure assets. Asset damage leads to additional costs and deterioration in the performance and value of the asset and the services it provides.
Service disruption
Climate change can cause disruptions in the provision of infrastructure services. This can cause additional costs to maintain the same level of service under different climatic conditions (e.g. larger reservoirs are needed to address more variable precipitation).
How climate change impacts infrastructure
Heatwaves lead to overheating of power generation equipment, causing failure.
Examples
  Flooded water treatment plant or wash-out water transmission pipelines cause disruption to provision of water supply services and impacting communities
Changing demand for infrastructure services
Climate change impacts the demand for infrastructure services, putting pressure on service providers.
  Increased electricity demand for cooling due to increased temperatures, which can lead to power outages and grid overloads.
Notes: Trainer Notes:
This slide outlines three different ways that climate change impacts infrastructure. Please go over each concept with participants. You can add the examples on the right of the slide to help provide more concrete examples of each core concept.

## Slide 16
Water
How climate change impacts water infrastructure
  Damage to water infrastructure such as pipes and treatment plants during storms. Storm runoff contaminates water supply with pollutants and debris.
  Landslides wash away pipes, intakes etc.
  Loss of coastal water infrastructure and natural water buffers like wetlands.
  Saltwater intrusion compromises the quality of freshwater resources.
  Damage to water distribution systems, such as burst pipes leading to disrupted services.
  Flooding overwhelms water treatment facilities, leading to contamination of water supply.
Storms & Cyclones
Droughts
Flooding
Notes: Trainer Notes:
This is the third of four slides that provides an illustration of how different climate hazards impact the eight types of infrastructure that we are focusing on. Some of this material will be familiar to participants from previous modules. But it is useful to go over it again in detail to reinforce the learning. We have chosen to focus on four climate hazards - heatwaves, storms & cyclones, flooding and sea level rise - since these are common hazards faced by many.
This slide focuses on the water sectors. Please read off the main points on the slide to participants.
Please also emphasize to participants that vulnerability to climate change impacts varies across different geographies and sectors. The impacts faced by a given infrastructure asset will depend on a range of factors (recall the discussion of hazard, exposure and vulnerability in Module 2 on climate risks for cities): for example, changes in rainfall patterns are projected to increase total annual rainfall in some regions and decrease in others – hazard and exposure will vary by location. Additionally, the adaptive capacity of the systems being considered plays a crucial role in determining their vulnerability to these impacts (Higher adaptive capacity means less vulnerability and vice versa). Therefore, not all of the illustrated impacts may be equally to our audience, depending on what localized climate hazards and risks are present in their location. You can prompt participants to consider how location (exposure), sector-specific characteristics (sensitivity), and the adaptive capacity of infrastructure systems influence the level of risk to climate impacts they face in their own cities. This awareness can foster a nuanced understanding of the complexities involved in climate adaptation planning and decision-making. Source: Hall et al., (2019). Adaptation of Infrastructure Systems: Background Paper for the Global Commission on Adaptation. https://gca.org/wp-content/uploads/2020/12/GCA-Infrastructure-background-paperV11-refs_0.pdfa

## Slide 17
  Damage to super structure of latrines due to strong winds and intense rain
  faecal waste to spread, contaminating water sources, and sharply increasing health risks—especially in low-lying and informal settlements.
  Droughts disrupt sanitation by reducing water needed for toilet use and system functioning, increasing unsafe practices, and raising health risks when waste becomes concentrated and poorly managed.
  Flooding compromises sanitation systems, escalating the risk of waterborne diseases.
  Damage to facilities, for example due to water ingress.
How climate change impacts sanitation
Storms & Cyclones
Droughts
Flooding
Sanitation
Notes: Trainer Notes:
This is the fourth of four slides that provides an illustration of how different climate hazards impact the eight types of urban infrastructure that we are focusing on in the UCRMC. Some of this material will be familiar to participants from Module 1 and Module 2. But it is useful to go over it again in detail to reinforce the learning. We have chosen to focus on four climate hazards - storms & cyclones, flooding and droughts-
This slide focuses on the health & sanitation sectors. Please read off the main points on the slide to participants.
Please also emphasize to participants that vulnerability to climate change impacts varies across different geographies and sectors. The impacts faced by a given infrastructure asset will depend on a range of factors (recall the discussion of hazard, exposure and vulnerability in Module 2 on climate risks for cities): for example, changes in rainfall patterns are projected to increase total annual rainfall in some regions and decrease in others – hazard and exposure will vary by location. Additionally, the adaptive capacity of the systems being considered plays a crucial role in determining their vulnerability to these impacts (Higher adaptive capacity means less vulnerability and vice versa). Therefore, not all of the illustrated impacts may be equally to our audience, depending on what localized climate hazards and risks are present in their location. You can prompt participants to consider how location (exposure), sector-specific characteristics (sensitivity), and the adaptive capacity of infrastructure systems influence the level of risk to climate impacts they face in their own cities. This awareness can foster a nuanced understanding of the complexities involved in climate adaptation planning and decision-making. Source: Hall et al., (2019). Adaptation of Infrastructure Systems: Background Paper for the Global Commission on Adaptation. https://gca.org/wp-content/uploads/2020/12/GCA-Infrastructure-background-paperV11-refs_0.pdfa

## Slide 18
Cascading impacts of climate change
Cascading impacts of climate change
Infrastructure increasingly operates as an interdependent “system-of-systems”, meaning infrastructure assets depend on each other for delivering services
However, this also means there is potential for cascading failures and systemic risks due to climate impacts
A single climate impact on one infrastructure asset or service can cause a cascade of impacts across other assets & services, leading to more severe and pronounced negative consequences for an area.
Climate
hazard
Impact on system
Impact at
asset level
E.g., Rising temperatures
Workforce productivity
Equipment performance
Infrastructure stress
Health and safety
Environmental and social impacts
Financial impacts
Reputation
Notes: Trainer Notes: The previous few slides focused on how climate change impacts individual sectors in a city. However, as shown in the diagram earlier, infrastructure systems are interlinked. As a result, the impact of climate change on one sector can lead to a ‘ripple effect’ where other sectors are subsequently also negatively impacted. This is called the cascading impact of climate change.
Please emphasize in this slide to participants that they should understand that the climate resilience of individual infrastructure assets must be assessed within the broader context of the entire system (this was also briefly highlighted in Module 2 in the context of CRAs). This holistic perspective is crucial for effective climate resilience planning and adaptation strategies.

## Slide 19: Cascading impacts of climate change
Impact t
asset level
Hydropower & Energy Systems
Initial impact: Heavy rains cause sedimentation and landslides that block a hydropower reservoir.
Cascade 1: Power production drops sharply, leading to rolling blackouts.
Cascade 2: Water pumping for irrigation and urban supply is interrupted, further stressing agriculture and households.
Cascade 3: Industries dependent on stable electricity (e.g., food processing, cold storage) shut down, triggering job losses.
Irrigation & Food Security
Initial impact: Prolonged drought dries up irrigation canals.
Cascade 1: Farmers lose crops, leading to food shortages and reduced household incomes.
Cascade 2: Loss of local harvests increases dependence on food imports, driving up prices.
Cascade 3: Malnutrition and poverty rise, placing pressure on health and social protection systems.
Notes: Trainer Notes: Go through two of the provided examples

## Slide 20: Cascading impacts of climate change
Ecosystems & tourism
Initial impact: Heavy rains cause sedimentation and Initial impact: Coral reefs and wetlands are damaged by rising sea temperatures and salinity.
Cascade 1: Fisheries collapse, removing a key food and income source for coastal communities.
Cascade 2: Loss of natural storm barriers increases coastal flooding and damages infrastructure.
Cascade 3: Tourism revenue falls, eroding local government budgets for services and recovery.
Inland water transport & trade
Initial impact: Extreme floods alter river flows, making inland navigation unsafe.
Cascade 1: Barges carrying grain and fuel cannot move, disrupting supply chains.
Cascade 2: Trucking takes over transport, causing higher costs and CO₂ emissions.
Cascade 3: Markets face shortages of essential goods, deepening regional inequalities.
Notes: Trainer Notes: Go through two of the provided examples

## Slide 21
  People Living in Informal Settlements
  Increased temperatures put pressure on an already-stressed water supply, which has a disproportionate effect on urban poor living in informal settlements. They have to pay high prices to buy water from informal vendors when it is not available.
  Heat-related illnesses, especially of children and the elderly, increase living costs as public health facilities have limited capacity to provide care at affordable cost.
  Insecure tenure of informal settlements restricts household access to electricity to cope with heat. They experience load-shedding more often and need to rely on services from informal vendors.
Climate impacts on vulnerable groups
Photo by Rodger Bosch, AFP
Notes: Trainer Notes:
This slide is the first of three slides that provides a deeper snapshot on how climate change impacts vulnerable groups - focusing on how it impacts people living in informal settlements. Please go over the slide content with participants, emphasizing again the need to focus on equity & inclusion when understanding the impacts of climate change on urban infrastructure and services.

## Slide 22
Climate Impacts on Vulnerable Groups
Nairobi; Photo by AP
Smallholder Farming Communities
  Communities depending on smallholder farming are highly exposed to changes in rainfall and temperature.
  Climate change has increased the risks they face through prolonged droughts and unpredictable rainy seasons.
  Crop failures due to drought and pest outbreaks linked to higher temperatures reduce food availability and household income.
  Women and seasonal labourers, who rely heavily on agricultural employment, face loss of livelihoods and greater food insecurity during these shocks..
Notes: Trainer Notes:
This slide is the second of three slides that provides a deeper snapshot on how climate change impacts vulnerable groups - focusing on how it impacts people living in informal settlements in riverine areas. Please go over the slide content with participants, emphasizing again the need to focus on equity & inclusion when understanding the impacts of climate change on urban infrastructure and services.

## Slide 23
Review Exercise: Climate-resilient infrastructure & services
Develop your understanding of your own context by thinking critically about your infrastructure and services:
Use the list of hazards and risks you started at the end of Module 1
Considering this list, which infrastructure and / or services in your context are most at risk?
What infrastructure or services would you consider a priority for climate risk reduction?
How might you do this?
Keep your answers on a paper or doc so you can refer to them again.
Water
Sanitation
Notes: Trainer Notes:
This is an individual exercise. The objective of this exercise is for participants to start to develop an understanding of their own context by thinking critically about your infrastructure and services.
Ask participants to:
Use the list of hazards and risks you started at the end of Module 1
Considering this list, which infrastructure and / or services in your context are most at risk?
What infrastructure or services would you consider a priority for climate risk reduction?
How might you do this?
Ask participants to keep their answers on a paper or document so they can refer to them again.

## Slide 24
Climate-resilient infrastructure & services
Transportation
We need to make investments to ensure that its infrastructure is resilient to climate hazards and so that infrastructure and services protects citizens from negative climate risks. There are a wide range of inter-connected infrastructure systems where you can prioritise climate resilient action:
Water
Sanitation
Notes: Trainer Notes:
Participants who wish to read more about climate resilient infrastructure & services can click on the links below.
https://resilientcitiesnetwork.org/climate-resilient-cities/
https://www.citiesalliance.org/how-we-work/global-programmes/climate-change-resilience-and-informality/resources-0
https://gca.org/wp-content/uploads/2023/03/A-Guide-for-Building-Climate-Resilience-in-Urban-Informal-Settlements_web.pdf

## Slide 25
It can withstand climate-related disruptions and continue to provide services such as power, water, and healthcare services even during crises.
It can recover rapidly from climate-related disruptions without rebuilding the vulnerabilities of the past.
It is planned, designed, built and operated in a way that anticipates, prepares for, and adapts to changing climate conditions.
What makes infrastructure climate-resilient?
It considers interdependencies and how changes in one infrastructure system may affect risk elsewhere e.g. an increase in paved surfaces for improved road networks may increase flood risk.
It supports inclusive social and economic resilience so that people are less vulnerable to climate hazards.
Dhaka; Photo by LepetitNicolas, Flickr
Notes: Trainer Notes:
This slide explains what climate resilient infrastructure looks like, focusing on a number of desirable outcomes and attributes that would indicate the infrastructure is resilient. Please read these off to participants so they understand the type of goals that they should be considering.
Source:
https://www.tandfonline.com/journals/tsri20/collections/CDRI-adaptive-pathways
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf

## Slide 26
Climate Proofing Infrastructure: When building new infrastructure or upgrading existing infrastructure, ensure that the design of the asset can withstand current and future climate impacts
Example: Upgrade road networks in floodplains using climate resilient design standards and materials, so they can withstand more frequent flooding caused by climate change.
Infrastructure that Addresses Underlying Vulnerabilities: Make infrastructure investments to address peoples’ underlying vulnerability so they are less severely affected by climate impacts
Example: Provide better access to reliable electricity, so that when extreme heatwaves occur, they are not as vulnerable to heat stress and can cool their homes effectively.
Two approaches to climate resilient infrastructure
01
02
Dhaka; Photo by Bobulix, Flickr
Notes: Trainer Notes:
This is a very important slide that explains two approaches to climate resilient infrastructure. Please go over these two concepts with participants and make sure they understand the difference between the two:
Climate proofing infrastructure: refers to investments in infrastructure to make the infrastructure itself more resilient to climate change impacts. This means that when building new infrastructure or upgrading infrastructure, those responsible for the project insure that the infrastructure can withstand current and future climate impacts. Climate proofing does not mean that all risks are eliminated. But it does mean that it can continue to function and not be overly damaged by climate change impacts. Often, this means that planners considers climate change in the design, operation and maintenance of the project. This means that a climate risk assessment is undertaken to identify key risks and adaptation options, and that the project is prepared to respond to a range of possible climate futures. This applies to both new and existing infrastructure. While it is easier to integrate climate change into new infrastructure yet to be built, it is also possible to retrofit existing infrastructure (e.g. raise the height of a bridge, replace cooling systems in buildings etc.)
Infrastructure that addresses underlying vulnerabilities: refers to investments in infrastructure that provide resilience benefits to people - helping to lessen and eliminate the vulnerabilities that make certain groups of people more negatively affected by climate impacts. For example, this could involve providing better access to essential services for groups that don’t currently have access to them – e.g. through access to water, energy, sanitation or improved livelihood opportunities. This has a cascading effect, which enables people to then better manage climate hazards when they occur.
Please communicate to participants that both types of approaches are valid resilience building measures that city officials should seek to implement. And these do not have to be separate options - participants can implement infrastructure investments that achieve both of these objectives at the same time!
Source:
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf
ADB and GCA (2021). A System-wide Approach for Infrastructure Resilience: Technical Note. https://gca.org/wp-content/uploads/2021/01/A-System-wide-Approach-for-Infrastructure-Resilience.pdf

## Slide 27
Design principles for climate- resilient infrastructure
01 | Systems Approach
02 | Adaptive Management
03 | Equity & Inclusion
Photo by Luis Tato, AFP
Notes: Trainer Notes:
Now that we have looked at what climate resilient infrastructure means in practice, this slide outlines three main design principles that participants should understand and seek to integrate into their approach to delivering climate resilient infrastructure. They are:
A systems approach
Adaptive management to ensure flexibility over time
Equity and inclusion
The following slides will cover each one of these principles in more detail.
Source:
UNDRR (2022). Principles for Resilient Infrastructure. https://www.undrr.org/publication/principles-resilient-infrastructure
GCA (2021). Climate Resilient Infrastructure Officer Handbook. https://gca.org/wp-content/uploads/2021/08/GCA-Handbook-V2.0-13-September-2021-2.pdf?_gl=1*117cetp*_ga*MTkzMTA3MDYyNi4xNzEwMTczNjIz*_up*MQ

## Slide 28
01 | Systems Approach
A systems approach is used to address the interdependencies across different infrastructure assets and services within a city. It considers how individual assets influence one another and how they interact with the overall system.
A systems approach identifies risks to the entire system, including cascading impacts. It also considers that resilience building interventions should increase resilience of the entire system, not just a single asset or sector.
Example: Road infrastructure is interconnected with water management infrastructure, for managing run-off water during rainfall. To increase the climate resilience of road networks, city planners must consider this interconnection. Making drainage systems more resilient will help ensure that roads can cope with future flooding events.
Khulna Dacope Koira, Bangladesh; Photo by Emdadul Islam Bitu, UNDP Bangladesh
Notes: Trainer Notes:
The first of three design principles that are outlined here is that participants should ensure to integrate a systems approach into their planning for climate resilient infrastructure.
A systems approach recognizes the interconnected nature of infrastructure assets and services in a city. Please remind participants if necessary of the way that climate change can create cascading impacts within a city. As a result, city officials should consider how to integrate their approach to specific project delivery (e.g. of an asset or a service) within the broader city context. Often this occurs in the strategy or planning phase of the project cycle (which will be introduced in more detail in Module 5). In particular, this often involves ensuring that resilient infrastructure is integrated into long-term capital investment plans or Master Plans (please note to participants that different countries have different terms for this process).
Sources:
da Silva et al. (2012). A systems approach to meeting the challenges of urban climate change. https://doi.org/10.1080/19463138.2012.718279
ADB (2016). Enhancing Urban Climate Change Resilience: Seven Entry Points for Action. https://www.adb.org/publications/enhancing-urban-climate-change-resilience-seven-entry-points
Infrastructure Pathways (undated). https://infrastructure-pathways.org/key-concepts/
WRI (2022). What Is Systems Change? 6 Questions Answered. https://www.wri.org/insights/systems-change-how-to-top-6-questions-answered

## Slide 29
02 | Adaptive Management
@Jenn, please provide some clarity here.
Adaptive management is a strategy that helps handle the uncertainties linked to climate change over the lifetime of an infrastructure investment. Sources of uncertainty include climate model projections, especially at the local scale, and socioeconomic changes linked to urban growth.
This means integrating flexibility from the start, so that infrastructure plans can respond to changing circumstances and multiple possible climate scenarios across the life of the investment. This also reduces costs, avoiding locking in large up-front investments.
Requires monitoring and evaluating performance over the lifetime of the investment, which allows decisions to be made at later points in time, according to performance, updates to climate science and attitude to risk. Climate risk assessments (CRAs) are an important input to these decisions.
Khulna Dacope Koira, Bangladesh; Photo by Emdadul Islam Bitu, UNDP Bangladesh
Notes: Trainer Notes:
The second of three design principles that are outlined here is the importance of adaptive management when designing and delivering climate resilient infrastructure.
Adaptive management ensures that flexibility is integrated into the lifespan of an infrastructure asset or service, so that it can be changed as climate risks change over time. Adaptive management requires monitoring and evaluating progress because complex systems do not always respond predictably to disturbances like climate change. Please go over the content on the slide so that participants understand the concept of adaptive management. Emphasize that they should consider how to implement monitoring and evaluation (M&E) of their climate resilient infrastructure investments in order to learn and iteratively adapt strategies and processes over time.
Source:
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf

## Slide 30
03 | Equity & Inclusion
Effective infrastructure planning must ensure accessible, reliable and quality services for all. By 2050, urban areas are expecting an influx of 2.5 billion people, mainly in Asia and Africa. By the same year, up to 85% of urban poor neighborhoods are projected to be at risk of flooding, compared to about 60% of the broader urban landscape.
Social factors like gender and age result in differential vulnerabilities from poor access to services, even within vulnerable groups. Vulnerability is not uniform as it is shaped by overlapping factors such as income, disability, migration status, ethnicity, or housing conditions
For example, in poor settlements, women bear the brunt of climate-related water scarcity as they fetch water for households. Reliable piped water infrastructure at the household level can help relieve this burden and contribute to women’s well-being.
@Jenn, please provide some clarity here.
Equitable & Inclusive Access to Services
Kallyanpur slum, Dhaka; Photo by Kibae, UN Photo
Notes: Trainer Notes:
The third and final design principle outlined in this section is the importance of equity and inclusion when designing and delivering climate resilient infrastructure. This design principle is split over two slides, to provide participants with guidance on two important considerations:
Equitable & inclusive access to services
Equitable & inclusive participation in decision-making
This slide focuses on equitable & inclusive access to services. Please emphasize to participants that when designing projects to build climate resilient infrastructure or provide services that support climate resilience, they need to recognise the importance of equity and inclusion. This includes understanding the disparities in access to infrastructure and services among vulnerable populations. It also includes proactively investing in projects that help these groups of people access infrastructure and services that they have previously been excluded from. Some ways to help understand the needs of excluded groups are to engage with NGOs, civil society, self-help groups, residents associations, etc. that advocate on behalf of vulnerable communities or groups. This could occur when conducting a CRA, when developing city climate strategies, or when developing land use plans / capital investment plans / Master Plans.
Sources:
OECD (2018). Climate resilience infrastructure: Policy perspectives. https://www.oecd.org/environment/cc/policy-perspectives-climate-resilient-infrastructure.pdf
UNDRR. (2013). Poorly planned urban development. Retrieved from Prevention Web: https://www.preventionweb.net/understanding-disaster-risk/risk-drivers/poorly-planned-urban-development
McKinsey & Company (2020). Climate risk and response | McKinsey

## Slide 31
Questions
Open Floor
Does anyone have any questions about what makes climate resilient infrastructure?
Photo by Brian Inganga, AP
Notes: Trainer Notes:
Please give participants an opportunity to ask questions they have from the content presented in this section.

## Slide 32
LUNCH

## Slide 33
Energiser: River of Life
On an A4 blank piece of paper, draw a river that represents your own timeline on learning on climate, adaptation, water
Think how the river flows
What turns, twists and rapids are in your river? What have been your tributaries
Be creative!
You have about 5-10 minutes
Once done, please stick the river to the wall and join the discussions
Notes: Facilitators notes:
Give participants at least 10 minutes to draw their river. Indicate that the drawings should not have any name
Put the rivers on the wall and ask a couple of colleagues to highlight their river briefly. Provide short observations on what you see.
The objective of this exercise, is for colleagues to think where the current training fits in their own personal development. People came here already with a lot of information, and they will have more information as they go ahead.
Background information can be found here: https://actbelievechange.wordpress.com/2014/11/27/river/

## Slide 34
04 | The broader enabling environment

## Slide 35: The broader enabling environment - supports non structural measures
Notes: For trainer:
A strong system is essential for ensuring the continued functionality of climate-resilient services and practice of behaviors, as well as for delivering acceptable service levels to communities over time.
The performance of services and behaviors are impacted by multiple climate and non-climate related factors; however strong systems ensure that non-climate factors (such as insufficient finance available for maintenance services) do not undermine the resilience.
This is why it's important to include system strengthening activities as part of climate-resilient interventions.
For example, if there is no funding available for major maintenance of services then they may be more vulnerable and less resilient to climate change. Strategies for funding major maintenance must therefore form part of climate-resilient interventions.
Good to mention here:
Many organisations use building blocks to analyse systems.
The building blocks help make a system easier to understand.
Strong systems are themselves resilient. Climate resilience for water and sanitation services thus hinges on strong social, technical, institutional, environmental and financial factors, actors, motivations and interactions that collectively empower communities to respond to and recover from the growing threats of climate change.
All building blocks need to be present and working at least minimally for services to function. We have rarely seen cases where services are sustained in the absence of these building blocks.
If you want to strengthen the system, you need to identify which of the building blocks have the greatest potential to improve your current situation. By identifying and addressing existing strengths and weaknesses, we can maximize gains and contribute to better, longer-lasting outcomes.
Learning and adaptation - This building block is strong when: Capacity and frameworks exist to capture lessons learned and to adapt and update service delivery models, approaches, and the wider building blocks in the face of change and lessons learned.
Water Resources Management - This building block is strong when: There is a clear framework for the allocation and management of water abstraction and water quality and this framework is being implemented. There are systematic practices of catchment protection, planning for multiple uses of water, dialogue platforms for water resource disputes, and effective arrangements for hydrological monitoring.
Regulation and accountability - This building block is strong when: A clear regulatory framework exists; regulatory functions are clearly defined with clear separation in roles between regulators and service providers; regulatory capacity exists and is exercised; and equity and accountability mechanisms are in place.
Finance - This building block is strong when: Clear frameworks and sufficient funds exist and are applied for financing service delivery, including full life-cycle costs and clearly identified sources for each component.
Planning - This building block is strong when: clear frameworks exist for the development of plans and budgets at all levels of government and all levels of service providers, as well as when there is clarity about and capacity for their development.
Monitoring - This building block is strong when: National and subnational monitoring frameworks exist and are being used by all parties to measure and report on the quality of services delivered (service level), and such data is used proactively to improve the quality of services on a routine basis.
Service delivery infrastructure - This building block is strong when: Clear frameworks, capacity, and roles exist, including procurement, construction, and asset management (which includes development and maintenance). Technologies and service delivery models must be appropriate for the context.
Institutional arrangements & coordination - This building block is strong when: The institutions related to sector policy and planning, service provision, and service authority exist, have clearly defined mandates and roles, and have sufficient capacity. Coordination mechanisms are in place, leading to harmonized action within the WASH sector and with related sectors.

## Slide 36
Systems are multi-level
Notes: Systems consists of different nester systems at different levels in including the household level, the community level, the district level, the sub-national level and the national level. Building block tend to span multiple of these levels.

## Slide 37
The mechanisms by which a government sets out its vision for the sector (policy) and determines the legal framework for achieving that vision (legislation)
National policy
Legal framework
Norms and standards
National guidelines for development and management of services

## Slide 38
The formal organisational arrangements in a country’s WASH sector;
The capacity and resources that each organisation has to perform its role;
The coordination mechanisms amongst the organisations.
Clearly defined roles and responsibilities across governance levels
Responsibilities and institutional set up for service authorities for different service delivery models are clearly defined
Clearly defined and filled staffing requirements

## Slide 39
National planning mechanisms exists aligned to WASH targets
Strategic planning at decentralised levels involving relevant stakeholders
Includes increasing access as well as ensuring on-going service provision
Plans include costs and details on funding and financing these
Mechanisms, frameworks and capacities for planning and budgeting at different levels.
This is the foundation for implementation of policies to achieve universal access to sustainable services.

## Slide 40
Funding sources for all lifecycle costs components are identified
No budget gaps
Responsibility for new infrastructure and major maintenance are defined
Budgets and expenditure are justified at national government level, legislature & ministry

## Slide 41
Mechanisms and processes for developing new infrastructure and maintaining existing facilities.
Asset ownership is clear
Adequate and up-to-date asset data
Responsibility of asset management is clear
Asset management is done using standardised tools, guidelines and trainings
Development
Maintenance

## Slide 42
A systematic way of collecting, analysing data and actually using it to inform action and decision making at multiple levels.
Often produces input for building blocks, e.g. planning, regulation and accountability, learning and adaptation, etc.
Monitoring includes monitoring of assets, services levels, performance of service providers and service authorities, and systems strength.
Covers all geographies and service delivery models
Data is regularly updated
Data has a clear purpose and is used accordingly

## Slide 43
Formal regulatory mechanisms and enforcement processes as well as other mechanisms to hold decision makers, service providers and users to account and ensure that the interests of each group of actors are respected
Clear regulator models for different, e.g. regulation by agency or by contract
Covering the different regulatory functions include performance, economic and environmental regulation

## Slide 44
The communication, coordination and control of how water is allocated to different sectors.
Legislation/policy in place defines priorities and processes related to groundwater and surface water
Institutions in place to undertake mandated functions
These platforms/institutions allow representation of service providers and authorities

## Slide 45
Multi stakeholder institutionalized learning platforms
Other sectors are represented
These platforms have bottom-up and top to bottom linkages
The ability to adapt based on experience and changing circumstances is an essential characteristic of any robust system.
This block presumes inclusive platforms for the regular sharing of information and use of data for critical analysis, with insights from multiple stakeholders, including civil society.

## Slide 46
Recap exercise
Buzz groups
Discuss any questions you have
In groups of two – three discuss the previous session
Nairobi; Photo by Millerpd, Getty Images (licensed via Canva)
If you want to share an experience with the room, please raise your hand.
Up to 5 minutes. We want to hear a nice Buzz around the room!
Notes: Trainer Notes:
Please ask participants to pause and discuss the above questions with their partners / table for a few minutes.
Once they have discussed for a few minutes, open the floor for a few participants to share their experience with the rest of the participants in the room.

## Slide 47
What is climate finance?
Countries need financial resources to invest in public infrastructure and services.
Climate finance refers to money that can be used to make investments that will
address climate change.
As climate change accelerates over the coming decades, cities will need larger amounts of finance to make infrastructure resilient to the impacts of climate hazards, and to invest in new infrastructure that makes people resilient to climate impacts.
While climate finance can be used for adaptation & resilience as well as climate mitigation, in this course we focus on finance for adaptation & resilience.
Photo montage by Tom Roberts, Flickr
Notes: Trainer Notes:
This slide introduces the topic what is climate finance and why is it important? There are several key points to highlight to participants:
Cities need financial resources in order to invest in public infrastructure and services. Climate finance refers to money that can be used to make investments that will address climate change.
As climate change accelerates over the coming decades, cities will need larger amounts of finance to make infrastructure resilient to the impacts of climate hazards, and to invest in new infrastructure that makes people resilient to climate impacts.
While climate finance can be used for adaptation & resilience as well as climate mitigation, in this course we focus on finance for adaptation & resilience
Source: Urban Climate Resilience course

## Slide 48
Global Landscape of Climate Finance 2023 - CPI (climatepolicyinitiative.org)
Notes: Under the international environmental treaty known as the United Nations Framework Convention on Climate Change (UNFCCC), 154 states committed in 1992 to support developing countries to mitigate and adapt to climate change by providing financial resources Commitment has been $100B/year from developed to developing countries

## Slide 49: The largest climate multilateral funds that may be of interest to Water services include
Green Climate Fund (GCF) (biggest and sole focus on climate change)
Global Environment Facility (GEF), which comprises the following:
  GEF Trust Fund
  Least Developed Countries Fund (LDCF)
  Special Climate Change Fund (SCCF)
  Small Grants Programme (SGP)
Adaptation Fund (AF)
Climate Investment Funds (CIF)

## Slide 50: All Climate Finance must have a clear climate rationale and contribute to additionality Additionality is the additional costs required to make a service climate resilient or/and low carbon. This is the part of an intervention that can be directly attributable to climate change. This ensures that as climate finance increases, it does not reduce the funding available for other development needs. Climate Risk – that speaks to hazards, vulnerabilities, and exposure is a prerequisite for a clear climate rationale to address additionality.

## Slide 51
Good examples | Bad examples
Climate-resilient water infrastructure to survive floods and droughts Leakage reduction to conserve scarce water resources Water storage to maintain services during floods and droughts Addressing new disease vectors | Increasing per capita water use, increasing population Urban migration and refugees (unless ‘climate refugees’) Lack of maintenance Improving WASH coverage for development purposes
Climate Rationale for water services Examples for floods and droughts

## Slide 52
Good examples | Bad examples
Climate-proofing hardware and infrastructure to survive floods, fires and droughts WASH services for persons relocating due to climate change (i.e., ‘climate refugees’) Supplying treated wastewater to farmers/industry in drought-affected areas Reducing the energy use of wastewater infrastructure Capture and use of biogas as a renewable energy source | Projects to serve a growing population Humanitarian interventions (e.g., responses to conflict situations) Upgrading hardware (e.g., pit latrines to ventilated improved pit (VIP) toilets) Treating wastewater to prevent pollution
Climate Rationale for water and sanitation services –
Examples for sanitation mitigation and adaptation

## Slide 53: Tips for climate financing
Know the landscape! Who has received funding for what, where, and using which instruments? Who currently has direct access?
Develop a climate rationale (at national or sub-national level) to clearly show additionality. Clear articulation of climate risk will be expected.
Ensure knowledge of NDC and NAP processes. Understand the contribution of your proposal to those processes.
Notes: There are other climate funding instruments, which we don’t have time for today, but stay tuned for the Systems Academy Course
  Loss and Damage (L&D) - refers to harm and destruction – both economic and non economic - caused by climate change impacts that cannot be avoided through mitigation or adaptation – new fund commitment in COP27
  Carbon credits - tradable certificates that help companies (like utilities) compensate for their CO2 or other GHG emissions as part of their sustainability agenda.
  Green and climate bonds - allow access to finance from the capital markets and deliver green or climate impacts that can be verified against standards
  Climate insurance - insurance schemes and/or long-term agreements with contractors to ensure regular maintenance.

## Slide 54
NDC exercise
Buzz groups
In groups of two or three, locate the NDCof Kenya
Locate the targets that mention water
Does your work link to any of these?
If you want to share an experience with the room, please raise your hand.
Notes: Trainer Notes:

## Slide 55
05 | Ways to build resilient infrastructure

## Slide 56
Three ways to build resilient urban infrastructure
01 | Structural Measures
02 | Non-Structural Measures
03 | Nature-based Solutions
Photo by TiSanti, Getty Images
Photo by Kindel Media, Pexels
Photo by Dylan Leagh, Pexels
Notes: Trainer Notes:
This section outlines three different ways to build resilient urban infrastructure:
Structural measures
Non-structural measures
Nature-based solutions
The following slides will dive into each of these three categories in more detail. But please explain to participants that these are not intended to be silos! These three types of solutions can be used together to deliver resilient infrastructure. For example to combine structural and structural measures. Or to combine structural measures with NbS for ‘hybrid solutions’.

## Slide 57
01 | Structural Measures
Structural measures are physical constructions and assets that are built to reduce or avoid the impacts of climate hazards.
They are also known as ‘hard’ or ‘grey’ infrastructure, since they are often made of concrete or other long-lasting materials.
Examples of structural measures include:
  Strengthening pipes across streams to avoid being washed away during intense run-off
  Retrofitting existing infrastructure e.g. raising the intake of a borehole to protect against sea level rise
Photo by Edmundo Cruz, Getty Images (licensed via Canva)
Notes: Trainer Notes:
The first type of climate resilient infrastructure solution is structural measures. These are physical constructions and assets that are built to reduce or avoid the impacts of climate hazards. They are also often known as ‘hard infrastructure’ or ‘grey infrastructure’ since they are often made out of concrete or other long-lasting materials.
Sources:
Bahadur and Tanner (2021). Resilience Reset: Creating Resilient Cities in the Global South. Routledge.
GCA (2021). Climate Resilient Infrastructure Officer Handbook. https://gca.org/wp-content/uploads/2021/08/GCA-Handbook-V2.0-13-September-2021-2.pdf?_gl=1*117cetp*_ga*MTkzMTA3MDYyNi4xNzEwMTczNjIz*_up*MQ

## Slide 58
01 | Structural Measures
Examples:
  Raising the borehole well head above the flood level to avoid damage to the wellhead fittings.
Photo by Edmundo Cruz, Getty Images (licensed via Canva)
Photo by GCA
Photo by GCA
Notes: Trainer Notes:
The first type of climate resilient infrastructure solution is structural measures. These are physical constructions and assets that are built to reduce or avoid the impacts of climate hazards. They are also often known as ‘hard infrastructure’ or ‘grey infrastructure’ since they are often made out of concrete or other long-lasting materials.
Sources:
Bahadur and Tanner (2021). Resilience Reset: Creating Resilient Cities in the Global South. Routledge.
GCA (2021). Climate Resilient Infrastructure Officer Handbook. https://gca.org/wp-content/uploads/2021/08/GCA-Handbook-V2.0-13-September-2021-2.pdf?_gl=1*117cetp*_ga*MTkzMTA3MDYyNi4xNzEwMTczNjIz*_up*MQ

## Slide 59
02 | Non-Structural Measures
Non-structural measures are ‘soft’ measures that reduce climate risks. They focus on improving institutional, organizational and human capacity to respond to climate change.
These non-physical measures include policies, plans, capacity building, investment in data collection and technology, awareness raising, monitoring and evaluation (M&E), etc.
Examples of non-structural measures include:
  Establishing inclusive early warning systems that collect data on climate risks.
  Building capacity of urban actors to ensure basic understanding of climate information and implications on key sectors
  Developing policies & building codes to reduce climate risks and promote resilience of water infrastructure.
Photo by GCA
Notes: Trainer Notes:
The second type of climate resilient infrastructure solution is non-structural measures. These are ‘soft’ measures since they do not involve the physical constructions and assets. Instead, they involve improving institutional, organisational, and human capacity to respond to climate change. These non-physical measures include policies, plans, capacity building, data collection, risk screening, risk analysis, awareness raising, and other M&E activities.
While conventionally, resilience-building has focused on strengthening hard infrastructure (e.g. focusing on engineering practices), strengthening soft infrastructure is equally important – urban actors must have the information, capacity and enabling policy environment to take action. Additionally, non-structural measures may be less costly than implementing purely structural measures, which often involve high upfront capital costs.
Sources:
Bahadur and Tanner (2021). Resilience Reset: Creating Resilient Cities in the Global South. Routledge.
GCA (2021). Climate Resilient Infrastructure Officer Handbook. https://gca.org/wp-content/uploads/2021/08/GCA-Handbook-V2.0-13-September-2021-2.pdf?_gl=1*117cetp*_ga*MTkzMTA3MDYyNi4xNzEwMTczNjIz*_up*MQ

## Slide 60
Combined Structural & Non-Structural Measures
Cities can combine structural and non-structural measures for more holistic resilience solutions.
Building resilience of infrastructure has conventionally focused on structural or ‘hard’ measures (e.g. engineering practices). However, deploying non-structural or ‘soft’ measures is equally important – urban actors need appropriate information, capacity and enabling policy environment to take action.
In many cases, the two types of measures are integrated into a resilience intervention. Examples of combined measures could include:
  Physical flood protection measures such as dams and flood defenses, combined with hydrological catchment modelling.
  Water distribution infrastructure and community water management committees that monitor groundwater availability and quality.
Demonstration of the use of a Tromino, a passive seismic tool used for stratigraphy and bedrock mapping, to local water officials, Kenya; Photo by USGS
Notes: Trainer Notes:
The next few slides show examples of how stakeholders can combine structural and non-structural measures for more holistic resilience solutions. Please read the content off the slides and explain to participants how using a dual approach that builds physical assets (structural measures) and supplements these efforts with climate resilient planning, data analysis, monitoring efforts, etc. can help contribute to better resilience outcomes. Two case studies will follow this slide to provide real world examples of this in practice.

## Slide 61
Natural
Restoration and conservation of natural habitats, with active management
Semi-cultivated
Living shorelines
Constructed wetlands
Hybrid reefs
Riparian buffers
Cultivated
Bioswales
Rooftop gardens
Urban forests
Green alleys
Engineered
Permeable pavements
Rainwater harvesting
Groundwater recharge wells
03 | Nature-based Solutions
Photo by Tom Fisk, Pexels
Photo by Tom Fisk, Pexels
Photo by Tanyss, Getty Images
Photo by PixelShot
Notes: Trainer Notes:
This slide builds on the previous slide, highlighting some of the different types of nature-based solutions, from completely natural to engineered. Participants should understand that NbS encompass a range of solutions all aimed at harnessing nature to address societal challenges. The exact type of solution might vary, but they all refer to the same overarching concept of nature-based solutions.
Please explain to participants the difference between the four different boxes pictured on the slide:
Natural: Involves the restoration and conservation of natural habitats, with active management to enhance their ecological function
Semi-cultured: These solutions combine natural elements with some degree of human intervention or management. Examples include living shorelines, constructed wetlands, hybrid reefs, and riparian buffers.
Cultivated: These solutions involve the deliberate cultivation of vegetation within urban areas to provide ecological and societal benefits. Examples Include bioswales, rooftop gardens, urban forests, and green alleys.
Engineered: These solutions are primarily designed and constructed by humans to mimic or enhance natural processes. Examples include permeable pavements, rainwater harvesting, and groundwater recharge wells.
Source:
Our Shared Seas (2022). Unpacking Nature-based Solutions and Co-Benefits: A Primer. https://oursharedseas.com/unpacking-nature-based-solutions-cobenefits-primer/#note2

## Slide 62
03 | Nature-based Solutions
Nature-based solutions are important because they can reduce some of the negative impacts of grey infrastructure:
The expansion of built-up areas and impermeable surfaces, often at the cost of green and blue (water-based) spaces, heightens the risks associated with climate change including heatwaves and floods.
Urban areas can be 10-15°C hotter than their rural counterparts. Concrete surfaces like roofs and pavements absorb more heat and are resistant to cooling, contributing to the urban heat island effect.
Urban expansion in reclaimed blue spaces, such as degraded lakes and wetlands, disrupts natural drainage patterns, leading to higher instances of urban flooding during heavy rainfall.
NbS approaches that integrate natural ecosystem processes into infrastructure planning offer an effective alternative or addition to traditional built/grey infrastructure.
Photo by Radu Bercan, Canva
Notes: Trainer Notes:
So far in this module, we have been discussing climate change impacts on infrastructure, but it is also important to consider how urban infrastructure impacts the environment and climate. This slide intends to communicate to participants how structural measures can actually exacerbate climate impacts - and that NbS or hybrid solutions that combine structural measures with NbS might provide better resilience benefits to a city.
Please talk participants through the bullet points on this slide, explaining how the expansion of urban areas with grey infrastructure can be harmful to natural ecosystems and important ecological processes that help minimize climate impacts.
Sources:
Cohen et al., (2016). Nature-based solutions to address global societal challenges. https://portals.iucn.org/library/node/46191
U.S. Environmental Protection Agency (2008). Reducing urban heat islands: Compendium of strategies. Draft. https://www.epa.gov/heat-islands/heat-island-compendium

## Slide 63
03 | Nature-based Solutions
Nature-based solutions can complement, substitute for, or protect traditional grey infrastructure to enhance the resilience of service delivery to climate change.
Complement: Restoring watersheds, which serve as ecological infrastructure supplying water to reservoirs, plays a vital role in regulating hydrological processes and maintaining water quality.
Substitute: Using deep-rooted vegetation for slope stabilization offers a cost-effective alternative to building concrete retaining walls, and is estimated to save up to 90% in implementation costs.
Safeguard: Afforesting mangrove forests could protect shorelines from erosion, thus safeguarding nearby roads, buildings, and utilities from wave damage during storms and sea surges.
ICBAAR Project Bangladesh; Photo by UNDP Bangladesh
Notes: Trainer Notes:
Building on the previous slide, this slide outlines how NbS can complement, substitute, or safeguard & protect traditional urban grey infrastructure (structural measures). Please read off each of the three points, emphasizing the benefits of NbS options.
Source:
CDRI_Global_Infrastructure_Resilience_Executive_Summary.pdf

## Slide 64: Mikindani Constructed Wetland
Mikindani struggled with untreated effluent draining into Tudor Creek. Wetlands wasconstructed:
mimicks the natural filtering process of wetlands to clean wastewater.
grasses and reeds to absorb and break down pollutants in the water
Photo Credit UNEP
Notes: A constructed wetland using nature-based solutions operates by mimicking the natural filtering process of wetlands to clean wastewater. It uses plants like grasses and reeds to absorb and break down pollutants in the water. The plants and soil help filter harmful substances such as dirt, nutrients, and chemicals. As the wastewater flows through the wetland, it becomes cleaner, safer for the environment, and helps improve water quality. The Mikindani constructed wetland uses a variety of locally available vegetation, including Typha grass, Cattail, Flat sedge, and Vetiver grass, to naturally filter and clean wastewater. This vegetation effectively removes pollutants, such as total suspended solids, nitrates, ammonia, and nitrogen, significantly improving water quality. The initiative demonstrates how nature-based solutions can tackle complex environmental problems while benefiting local communities.
https://www.nairobiconvention.org/mikindani-constructed-wetland/

## Slide 65: Sand dams Makueni County
More than 900 sand dams
Storing water in sand reduces evaporation
contamination and disease vectors such as mosquitoes and freshwater snails.
Low maintenance
Challenges to extract water safely
Not all locations suitable
Photo Credit: the charitable foundattion
Notes: https://www.sciencedirect.com/science/article/pii/S2772411525000151

## Slide 66
03 | Nature-based Solutions
Temperature regulation
Flood risk reduction
Stormwater regulation
Water
security
Biodiversity and regeneration
Improved air quality
Carbon sequestration
Tourism and recreation
Stimulate local economies
Contribute to public health
Spaces for interaction
Contribute to mental health
Eco-cultural heritage
Climate education
They provide a range of climate adaptation and mitigation benefits
They additionally offer multiple social benefits
Benefits of Nature-based Solutions
Notes: Trainer Notes:
This slide highlights the diverse range of benefits provided by nature-based solutions (NbS) in infrastructure planning and climate-resilient development Please emphasize to participants that they should understand that nature-based solutions offer a wide array of benefits beyond their primary function in infrastructure development. These benefits include environmental sustainability, economic efficiency, and social resilience, making NbS a valuable approach for addressing complex urban challenges. Please briefly explain the types of benefits that NbS provide based on the little icons presented on this slide.

## Slide 67
06 | Exercise

## Slide 68: Exercise
In groups of two or three brainstorm on Nature based solutions that you can are familiar with
Put them on post-it note
Place them on wall flipcharts under too much, too little and too dirty categorisation
Notes: In groups of two or three brainstorm on Nature based solutions that you can
Put them on post-it note. Give at least 10 minutes for this
Place them on wall flipcharts under too much, too little and too dirty categorisation
Ask for three volunteers – each for one of the flipcharts – they will try to group them and will provide the feedback with colleagues standing around

## Slide 69
07 | A quiz & end of the day reflection
Photo by Adam Vradenburg on Unsplash

## Slide 70
Which are the three options that resilience of infrastructure can strengthen:
Guarantees that climate-related extreme weather events will no longer occur or affect infrastructure systems
Ensures consistent access to essential services, even during climate-related extreme weather events including floods and heatwaves
Eliminates the need for ongoing maintenance and operational management of infrastructure assets
Prolongs the lifespan of infrastructure assets, maintaining their functionality and service provision capabilities over time
Optimizes resource allocation and streamlines service delivery, leading to more effective and equitable delivery of essential services
Notes: Answer 2,4,5

## Slide 71
Which statement best explains why climate finance must have a clear climate rationale and demonstrate additionality?
Because additionality covers the extra costs needed to make services climate-resilient or low-carbon.
Because climate finance can replace existing development budgets if climate impacts are expected in the future.
Because any development activity automatically qualifies as climate finance, regardless of climate risk analysis.
Notes: Answer 1

## Slide 72
True or False
Climate-resilient infrastructure is designed to resist climate hazards and does not need to consider recovery, interdependencies, or social impacts.
Notes: False

## Slide 73
Which of the following are Nature-based Solutions that strengthen water services? (Select all that apply)
Restoring upstream wetlands to reduce flood peaks and protect water intakes
Protecting and reforesting catchment areas to improve water quality and reduce treatment costs
Using green infrastructure (such as infiltration areas) to recharge groundwater and reduce urban flooding
Conserving riparian buffers to reduce erosion and sedimentation in water sources
Raising a concrete flood wall around a treatment plant
Increasing groundwater abstraction by pumping water to increase irrigation
Notes: 1,2,3,4

## Slide 74
True or False
A strong system is essential for ensuring the continued functionality of climate-resilient services and practice of behaviors, as well as for delivering acceptable service levels to communities over time.
Notes: True

## Slide 75: End of day reflection
Yellow post-it what went well today
Pink post-it what could be improved of today
Post them on the evaluation sheet when leaving the room
Notes: Trainer Notes:
End of the day reflection.
Ask participants to write down I their facilitators handbook
What went well?
What needs to be improved on both content and learning techniques?
Things that they want to remember for rolling out the training
Ask participants to share their reflections in plenary.

## Slide 76
Key points Module 4
Notes: Overview of key points of this module

## Slide 77: Extra resources Module 4
Rising to the Challenge: Success Stories and Strategies for Achieving Climate Adaptation and Resilience” World Bank (2023)
"Climate-Resilient Pathways: Adaptation, Mitigation, and Sustainable Development” IPCC (AR5, Working Group II)
Sectoral guide: Water security | Green Climate Fund GCF
UTS-ISF, 2023. ClimateFIRST: Climate Framework to Improve the Resilience of Sanitation Technologies: How-to Guide
Notes: This slide provides an overview of the key materials underlying Module 3.

## Slide 78: End of day reflection
Yellow post-it what went well today
Pink post-it what could be improved of today
Post them on the evaluation sheet when leaving the room
Notes: Facilitators notes:
End of the day reflection.
Ask participants to write down I their facilitators handbook
What went well?
What needs to be improved on both content and learning techniques?
Things that they want to remember for rolling out the training
Ask participants to share their reflections in plenary.